NC Transmission Planning Collaborative

Planning Working Group (PWG)

Meeting Minutes

January 18, 2006

Charlotte, NC

10:00 AM - 3:00 PM Eastern

Attendees:

Bryan Guy, Chair					Progress Energy

Lee Adams						Progress Energy

Mark Byrd						Progress Energy

Sammy Roberts (guest)				Progress Energy

James Manning, Vice Chair	 (phone)		NCEMC

Andrew Fusco					ElectriCities

Frank Gaffney					ElectriCities

Denise Roeder					ElectriCities

Bob Pierce						Duke Energy

Brandon Snyder					Duke Energy

Pam Kozlowski					Gestalt

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at approximately 10:00 AM.

- Mr. Pierce provided an overview of the meeting facilities for the day.

- The group reviewed the December 13, 2005 PWG meeting minutes.  The minutes were approved as modified at the meeting.

- OSC MEETING REPORT

- A report on the January 5, 2005 OSC meeting was given by those who had participated in the meeting.

- Based on the feedback from the OSC, the group reviewed and modified the following documents:

  - Reliability Compare and Contrast Summary document

  - Reliability Compare and Contrast document

  - 2006 Reliability Study Scope document

  - NCTPC Process Plans and Activities document

- Mr. Snyder will further review and modify, if necessary, the assessment practices for Duke in the cases developed section of the Reliability Compare and Contrast document.

- The next TAG meeting is scheduled for February 3, 2006.

- PEC TRM PRESENTATION

- Mr. Roberts of PEC made a presentation to the group on how PEC determines and treats Transmission Reliability Margin (TRM).

- RELIABILITY PLANNING STUDIES

- The group reviewed the status of the action items from the December 13, 2005 meeting.

- The group discussed the process and form to submit requested resource supply options for consideration in the reliability planning studies.   It was decided that the Participants should submit their resource supply options to the PWG by January 20th; and a PWG teleconference to discuss those options and develop a recommendation for the OSC was scheduled for January 24th from 9 to 11 am.

- The group discussed the status of the development of the Duke and PEC detailed models.  Duke reported that it was two weeks away from completing its detailed model.  PEC reported that its detailed model would be completed in early to mid-February.

- ENHANCED ACCESS PLANNING STUDIES

- The group discussed adding a section to the Reliability Study Scope document to explain that the reliability planning study results will be the starting point for the enhanced access planning studies.

- OTHER ITEMS

- The group reviewed and modified the draft presentation for the TAG meeting on the status of the planning process.

- The meeting was adjourned at approximately 3:00 PM.

ACTION ITEM LOG

PWG Meeting

January 18, 2006

Charlotte, NC

| # | ACTION ITEMS | ASSIGNED TO | COMPLETE BY |
| --- | --- | --- | --- |
| 1 | Develop process and idevs to merge Duke’s and PEC’s detailed cases | Brian Moss | In progress |
| 2 | Develop merged detailed case | Duke and PEC | 03/01/06 |
| 3 | Modify resource supply option form to allow multiple requests on one form [Need to determine if same or slightly modified form can be used for submitting enhanced access options] | Denise Roeder [Pam Kozlowski to get feedback from Rich Wodyka] | 01/19/06 [01/24/06] |
| 4 | Submit resource supply options to the PWG | Participants | 01/20/06 |
| 5 | Review NCTPC process document for any modifications required to address the enhanced access planning process | PWG | 01/24/06 |
| 6 | Develop recommendation regarding resource supply options to be studied to the OSC | PWG | 01/27/06 |
| 7 | Develop list of firm transmission reservations to be included in the merged detailed case, including “base” DNRs submitted by the Participants; and develop the base interchange table | Duke and PEC | 01/30/06 |
| 8 | Distribute list of normal generation outage cases and generation outages that impact the seams between Duke and PEC to be studied | Duke and PEC | 01/30/06 |