NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

August 15, 2007

ElectriCities Offices

Raleigh, NC

10:00 AM – 3:00 PM Eastern

Attendees:

Bob Beadle							NCEMC

James Manning						NCEMC

Denise Roeder						ElectriCities

Bob Pierce							Duke Energy

Bryan Moss							Duke Energy

Mark  Byrd							Progress Energy

Laura Travison						Progress Energy

Bryan Guy 							Progress Energy

Lee Adams							Progress Energy

Sammy Roberts						Progress Energy

Helen Steins							Yadkin

Rich Wodyka							Gestalt

Pam Kozlowski						Gestalt

Frank Gaffney						ElectriCities

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at approximately 10:07 AM.

- The group reviewed, modified and approved the July 11, 2007 PWG meeting minutes.  The group discussed the action items from that meeting.

- OSC MEETING

- Mr. Byrd cost allocation on regional and economic topics.  Consultants and NC Utilities Commission provided comments and recommendations on cost allocation.  FERC (Shelton Camden) received the group’s documents and commented on cost allocation regarding economics.

- Mr. Wodyka shared FERC’s conclusion that there may be a sharing of costs for projects among beneficiaries.

ACTION ITEM:  October PWG Meeting needs to finalize required documents due in November.

- YADKIN

- Helen Steins from Yakin attending meeting as a guest.

- Modeling done once a year as LST does, which is typically a 10 year outlook of detailed model of the system.  Update is held the first week in June and they have final cases by end of July.  They study SERC cases.  No modeling is done other than the case which is posted by SERC.

- Yadkin has no plan for transmission projects in the future.

- Only operating procedures Yadkin has are at Badin with Progress Energy Corporation.

- When the load reaches 95% the PEC dispatcher will call to open up the transformers to prevent overloading.

- There is an operation guide used to prevent overloading for the Tuckertown and High rock line in which they will open up Tuckertown.

- Bedin has no more than 5MW of generation/load on it, High rock 32, Tuckertown 38, Badin 139.

- There is a contingency on any overloading of lines.

- SERC long term group studies loading limits is zero  (no additional available, it is fully loaded).  Tuckertown to High Rock – first contingency case.

- Yadkin has 50 firm that is yearly and has roll over rights – can sell.  They don’t include in base case until their roll over rights are confirmed for the next year, so it is included in the near term cases but not the long term cases.

- Pleasant Garden – Asheville line…Tuckertown with tie line 88% with Harris plant down, 95% with tie line and Harris up and is strictly the base case with no contingencies

ACTION ITEM:  Yadkin to work with PEC and Duke more on the issues either individually or in the PWG group, however the companies see fit.

ACTION ITEM:  PEC to look at system overloads on Yadkin.

- PEC TRM RESERVE MARGIN COMPONENTS PRESENTATION

- Mr. Roberts presented how PEC establishes TRM Reserve Margin Components.  Mr. Roberts covered the NERC definition of TRM, SERC Supplement of TRM components,

- SERC recommends allowances for parallel path and loop flow allowances.  Mr. Roberts discussed how PEC considers Enrush and Operating Reserves, as well as VACAR Reserves and Parallel Flow.

- Parallel flow figure derived from the median of the historical cases added to the base case.

- Import capability for inrush number calculated with an inrush simulator.

- TRM Components:  VACAR Reserves, Parallel Flow and Inrush.

Action Item:  Mr. Roberts to ask PEC employee to provide actual numbers used to derive at the TRM components number and actuals.

- Group discussed parallel path systems.

ACTION ITEM:  Mr. Roberts to provide Mr. Guy with PowerPoint presentation and Mr. Guy to disburse to group.

- PEC to send out a write up on outage criteria and relevance on system design by August 24th.

- 2007 STUDY RESULTS AND SOLUTION DEVELOPMENT

- Mr. Guy and Mr. Byrd presented the updated PEC Reliability / RSO spreadsheet reflecting the 1200MW and import projects.  Mr. Guy and Mr. Byrd highlighted the reflected changes and discussed with the group.  These items are highlighted in yellow and green on the handout provided.

ACTION ITEM:  PEC to give a more detailed description of the changes in the PEC Reliability / RSO spreadsheet.

- Mr. Byrd commented that PEC is going forward with the initial siting of the lines for now and monitor it again next year.

- Line item number 32, Fayetteville-Fayetteville East 230KV highest non-operating procedure level.

- PEC side fix for Fayetteville-Fayetteville East is the proposed Richmond to Ft. Bragg Woodruff Street 230KV which is in the request que.  Other option is Erwin 500 230 bank.

- Appendix D resource supply option for reporting purposes.

ACTION ITEM:  PEC to investigate cost of Erwin, Wake, and Richmond Ft. Bragg options.

- Mr. Moss gave an update on current cases studied. Great Falls – Watery scenario.  Roxboro Dan case remained fairly the same.  Mr. Moss agreed to the Bynum-Erwin case.

- Discussed that Erwin will take care of the Wake and Fayetteville issue?

- 2008 STUDY ASSUMPTIONS

- TAG MEETING

ACTION ITEM:  PWG needs to prepare material for the September 17th TAG Meeting.  Presentations need to be sent out to group prior to 9/12 PWG meeting for comments and brought to the 9/12 PWG Meeting for finalization.

- Group discussed the Reliability / Resource Supply options to provide TAG.

- Group discussed what information to present to TAG.  Mr. Byrd proposed giving a status update discussing the changes to collaborative plan the PWG is aware of.  Mr. Wodyka suggested reporting on the process related to the base changes. Need to include the added projects that are over $10 mil and provide a schedule for the rest of the year including the scope changes.

- Group reviewed Resource Supply Findings PowerPoint 8/29/2006 draft.

- Group discussed how specific to be with the generation details.

ACTION ITEM:  Mrs. Kozlowski to update the table and create the beginning and ending of the presentation.    Mrs. Kozlowski suggested the group add more detail to Mrs. Roeders April presentation, last years presentation for the preliminary results and add on the schedule for the remainder of this year to the end.

ACTION ITEM:  Duke and PEC to send TAG input slides to Mrs. Kozlowski no later than Tuesday, August 28th.

ACTION ITEM:  Mrs. Kozlowski to combine TAG presentation and send out to group prior to teleconference call on September 6th.

ACTION ITEM:  Ms. Travison to send out changed meeting location information to group.

ACTION ITEM:  Teleconference on Wednesday, September 6th at 9:00am.

ACTION ITEM:  Mrs. Roeder to propose dates for next year’s PWG meetings taking the 2008 OSC meeting dates into consideration.

- Mr. Guy reviewed and discussed the Appendix B Collaborative Transmission Plan Major Project Listing draft with group which is posted

- ORDER 890 PLANNING INFORMATION REQUIREMENTS

- Mrs. Kozlowski reviewed the PWG Recommendation Regarding Responsibilities Table with the group.  The group made minor modification to the document to resubmit to the OSC.

ACTION ITEM:  Group to provide any additional comments, modifications and/or ideas regarding the PWG Recommendation Regarding Responsibilities table to Mrs. Kozlowski by August 24, 2007.

- OTHER ITEMS

Mr. Guy adjourned meeting at approximately 3:15 PM.