NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes (DRAFT)

February 4, 2009

Electricities, Raleigh NC

10:00 AM – 3:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

Bob Pierce							Duke Energy

Laura Lee							Duke Energy

Rick Anderson						Fayetteville PWC

Bob Beadle							NCEMC

James Manning						NCEMC

Mark Byrd							Progress Energy

Lee Adams							Progress Energy

Joey West							Progress Energy

Rich Wodyka							Accenture

Wayne Camp							Accenture

- ADMINISTRATIVE

- Bob Beadle started the meeting at 10:25 AM (slight delay due to inclement weather conditions).

- Denise Roeder reported that Electricities has nominated Cecil Rhodes to replace Frank Gaffney on the PWG and Greg Locke and Andy Fusco as the OSC representatives.

- Joey West noted that Progress Energy’s western region reached the 2013 forecast peak load during the recent cold weather snap on 1/17/09.

- Bob Beadle asked if anyone had any changes to the January PWG meeting minutes. The minutes were approved with a slight typo correction.

- SOUTH CAROLINA RTP STUDY QUESTION RESPONSES

- Laura Lee and Bob Pierce clarified the PWG action on this item, noting that the OSC is looking for a PWG recommendation on a response.

- James Manning asked what our role is in the SCRTP. Mark Byrd responded that it would be as individual companies. Denise mentioned that the study request went in as a group and our participation is probably more effective as a collaborative.

- Bob Pierce pointed out that we have bilateral agreements with PJM and AEP but no seams agreement. If we’re signing an agreement with PJM to share data and collaborate on studies, shouldn’t we also have an agreement with the SCRTP?

- Bob Pierce added that they still see problems with unresolved issues involving the Summer Plant and Pee Dee. What’s really needed is a 4-way collaborative study with close interaction on the methodology and assumptions.

- Mark Byrd reported that Progress Energy has also had issues in the South Carolina area, and although they have bilateral agreements, the coordinated study efforts under those agreements have been fairly dormant lately. Mark agreed to contact SCSPA and SCE&G about restarting the process for the Brunswick EMC area study and Pee Dee.

- Bob Pierce agreed to provide a summary list of unresolved technical issues in the SCRTP area. All agreed to recommend to the OSC that a letter or some other means of communication be made with the SCRTP listing the technical issues and suggesting the need for a closer working relationship or data exchange agreement similar to the one with PJM. Rich clarified that the PJM agreement is essentially a data sharing agreement, and allows for joint studies if the need arises but does not obligate the parties to perform annual studies.

ACTION ITEM: Bob Pierce agreed to provide a summary list of unresolved technical issues in the SCRTP area.

- NCTPC WEBSITE

- Rich Wodyka reviewed recent changes made to the NCTPC website, including updates to the application process and form for data requests, TAG and SERC confidentiality agreements, the section 9 Attachment K, reference documents sorted by date, an overhaul of the external links.

- Rich previewed the changes on the development website yesterday. It is being loaded today, and an email will be sent out in the next few days confirming that the website changes are now active.

- Rich also reported that he is having IT issues with the TAG distribution list, but hoped to get them resolved soon.

ACTION ITEM: Rich Wodyka to send out email confirming new website activation.

- PLANNING STANDARDS DOCUMENTATION

- Rich Wodyka mentioned that he viewed an annual (or other periodic) discussion on planning standards documentation as a healthy part of the study process, and should be done to see if any closer alignment of the standards and/or methodology might be warranted.

- Mark Byrd stated that he was not aware of any significant changes to Progress Energy’s procedures, other than paying more attention to bus sections and an increased focus on making sure that all of the processes align well with the applicable planning standards. Bob Pierce reported that Duke Energy is changing their crosswind speed assumption for transmission line ratings from 5 ft/sec to 2 ft/sec, which may have a significant effect on line projects.

- Mark Byrd mentioned that Progress Energy maintains a facility rating database.

- Bob Pierce displayed a spreadsheet for the Shiloh-Pisgah (Caesar) 230kV lines showing limiting elements and 12-hour/1-hour ratings.

- Mark Byrd stated that he had a recent discussion with Hector Sanchez at FPL, and discussed the possibility of using short term pre-contingency ratings, with the assumption that the thermal inertia would prevent the line from sagging past a certain minimum amount. Bob Pierce clarified that Duke’s 1-hour rating does not account for any pre-loading conditions, and use of the 1-hour rating assumes some loss of life of the conductor. Bob further clarified that their operators are required to respond within a certain time limit or use an automatic SPS to get a shorter rating. The difference between the 1-hour rating and the 12-hour rating is a higher level of clearance below the conductor.

- All agreed to review the “compare and contrast” reference document for next time and bring up any further considerations.

- PJM AGREEMENT

- Rich Wodyka reported that the PJM agreement has finally been signed by PJM and is currently at Progress Energy for signature (it will also need to be sent on to NCEMC, Electricities, and then Duke Energy for signature).

- The OSC will discuss putting together a team to meet with PJM. Rich offered to assist with coordinating arrangements for the initial meeting, and suggested that the PWG consider a list of items to discuss with PJM. Bob Pierce suggested using the “compare and contrast” document to put together a list of discussion topics.

- Mark Byrd agreed to develop a starting list of topics and email it out to the group by the middle of next week.

ACTION ITEM: Mark Byrd will develop an initial draft list of discussion topics with PJM and email it out to the PWG for further editing.

- 2009 STUDY AND WORK PLAN/SCHEDULE REVIEW

- The group reviewed the Duke Energy and Progress Energy interchange summaries, along with the resource table for Electricities. Bob Beadle reported that NCEMC has not yet completed their resource inputs, but would have this finalized and sent out to the PWG by early next week.

- James Manning pointed out that the Progress Energy summary included NCEMC’s Anson and Hamlet plants in the resource list. Mark Byrd reported that Progress Energy had a 1000 MW “dumgen” unit on the Wake 500kV bus to complete their list of resources. It will be closely examined in the models to see if it causes an overload.

- Mark Byrd suggested developing a high load western summer case to test the Duke-PEC interface, adding that the issue of west to east imports on 500kV should be considered as part of the study process. A winter update was already included in the study scope, but the PWG agreed to add the summer update, along with a maximum import case in the western area for summer 2014. All agreed to get OSC approval of the study scope enhancement.

- Joey and Laura agreed to shoot for developing the base case by the April PWG meeting, and a combined interchange table completed by the March PWG meeting. All were requested to bring their requested resource supply option sensitivities for the 2009 study to the March PWG meeting.

- Rich Wodyka agreed to repost the work plan with revised dates and send out the study scope and enhanced access study request to the TAG.

- Rich Wodyka reported that PJM should post their 2008 RTEP sometime this month.

- Mark Byrd agreed to send out a list of the NCTPC plan projects delayed due to lower load growth, and added that the Cape Fear River crossing project would most likely be greater than $10 Million. It would be added to the list of projects when the scope is finalized and approved.

ACTION ITEMS: Rich agreed to bring the additional summer 2014 western area case addition to the 2009 study scope to the OSC for approval.

PWG members will compile resource supply option sensitivities and bring them to the next PWG meeting.

Rich Wodyka will repost the 2009 work plan and send out the study scope and request for enhanced access study submittals to the TAG

Mark Byrd will send out a list of the NCTPC projects to be delayed by 1 year to the PWG.

- OTHER ITEMS

- Bob Beadle adjourned the meeting at approximately 2:00 PM.