NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

November 4, 2009

Raleigh, NC – ElectriCities

10:00 AM – 3:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

Laura Lee							Duke Energy

Bob Beadle							NCEMC

Rick Anderson						FPWC

Mark Byrd							Progress Energy

Lee Adams							Progress Energy

Joey West							Progress Energy

Rich Wodyka							Accenture

- ADMINISTRATIVE

- Bob Beadle started the meeting at 10:03 AM.

- The October 12, 2009 PWG meeting minutes were approved.

- Mark Byrd updated the group on the October 29th meeting with Duke Energy, SCE&G, Santee-Cooper, and Progress Energy in Florence, SC to discuss planning coordination under the interchange agreements in place with the companies. The concept of performing studies was well accepted but details such as model development and data sharing are still to be worked out. Rich Wodyka added that the effort was a good idea from the standpoint of cutting back the lag time in model development and satisfying FERC requirements for better coordination of models. The next meeting will be a conference call after the first of the year.

- Bob Beadle and Rich Wodyka updated the group on developments at the 10/22 OSC meeting/conference call.

- 2009 STUDY RESULTS/STUDY REPORT

- Laura Lee reported that the final results have been posted to the FTP site and are ready for the 2009 study report. The additional upgrade associated with the Lee Plant addition has also been included.

- Rich agreed to take all comments on the study report discussed at today’s meeting and send out a revised edition tomorrow, with the goal of sending the OSC a final draft for their review by Tuesday, November 10th. Joey West mentioned that we had done significant format changes last year to the study report. Rich agreed to look into the formatting changes and keep it consistent with last year’s format.

- Denise suggested a few additional wording changes and whether “post-contingency phase angle” needed to be mentioned in section III, since this project is expected to be in service by December 2009. Mark and Joey confirmed that this project will be in service by December 2009, so the reference is probably not needed. Joey West also added that this project should probably also be shown in Appendix B as “in-service” since it will be done by the time the study report is published. Joey West agreed to update the PEC growth rate in the assumptions section with the latest data of 1.5 to 2%. Rich Wodyka confirmed that the Duke number is an updated value.

- Joey West suggested adding ‘sensitivity’ after western peak in the interchange tables since that’s how it is described in the study report. Mark Byrd agreed to complete a short narrative section on the PEC load forecast impacts and what was assumed in the study.

ACTION ITEM: All attendees to send any further change suggestions or other sections needed to Rich by Friday for a revised edition.

- 2010 STUDY SCOPE

- Bob Beadle summarized what was tentatively developed for the scope at the last meeting. Mark Byrd reported that 100% of the unscrubbed coal units in the Progress control area amounted to around 800 MW. Laura Lee reported that she had received an email from Bob Pierce estimating the unscrubbed coal units in the Duke area to be around 2,000 MW.

- Mark Byrd suggested a separate case for the coastal wind injection rather than trying to replace the unscrubbed coal units, adding that an injection into the grid of 800 MW would test the transmission system a bit more than the previous wind generation sensitivity in the 2008 study.

ACTION ITEM: All attendees to continue thinking about the proposed scope and suggest any new possible sensitivities to be studied.

- UPDATE ON SCPSA-BRUNSWICK EMC TIE LINE STUDY

- Joey West reported that he has received the study report from SCSPA and is reviewing it. The proposed tie line studied would require somewhere in the neighborhood of $40-$50 Million in upgrades. Joey also mentioned that in the future this type of analysis would probably be covered under the NC/SC interchange agreement study coordination efforts.

- OTHER ITEMS

- Rich Wodyka reported that PJM sent interchange data and tie information for next year’s cases on 10/20.

- Bob Beadle adjourned the meeting at approximately 2:00 PM.