PWG Meeting Agenda

March 10, 2010

10:00 AM – 12:00 PM (EPT)

Conference Call

1-866-385-2663

Conference code: 168991

10:00 – 10:30		Administrative Issues

- Review & approve February, 2010 PWG minutes

- 2/23 OSC Conference Call Update

- 2010 Work Plan

- Action Item status

10:30 – 11:30	2010 Study

- OSC/TAG feedback

- Coordination of model building

- Interchange/LSE resource changes

- Off peak load level and wind resource allocation between areas

- PEC offshore access strawman

- Enhanced access requests from Southern Power

| Request |  | SOURCE |  | SINK |  | MW |  | Service Dates |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  | Cleveland Co. site |  | CPLE |  | 1000 |  | 1/12 to 1/22 |
| 2 |  | Cleveland Co. site |  | DVP |  | 1000 |  | 1/12 to 1/22 |
| 3 |  | SOCO |  | DVP |  | 1000 |  | 1/12 to 1/22 |
| 4 |  | SOCO |  | CPLE |  | 1000 |  | 1/12 to 1/22 |

11:30 – 12:00	Other Items

- Duke University student participation request

- TPL-001-1 Transmission System Planning Performance Requirements ballot

- NCTPC/PJM 3/11/10 meeting

12:00			Adjourn