Appendix A

Interchange Tables

DRAFT 12/29/06

2011 SUMMER PEAK

DUKE ENERGY CAROLINAS

DETAILED INTERCHANGE

# Duke Energy Carolinas Scheduled Imports/Purchases

Base Case             PEC TRM Case

CPLE (NCEMC)	200 MW	0 MW

CPLE (City of Seneca)	31 MW	31 MW

PJM (NCMPA1)	 40 MW	40 MW

SCEG (City of Greenwood)	57 MW	57 MW

SCEG (NCEMC)	100 MW	100 MW

SCPSA (New Horizons/NHEC)	880 MW	880 MW

SEPA (Hartwell)	156 MW	156 MW

SEPA (Thurmond)	113 MW	113 MW

SOCO (PMPA)	180 MW	180 MW

Total	1757 MW	1557 MW

# Duke Energy Carolinas Scheduled Exports/Sales

Base Case             PEC TRM Case

CIN	350 MW	350 MW

CPLE (Broad River)	850 MW	850 MW

CPLE (Lincoln)	50 MW	 50 MW

CPLE (NCEMC)	100 MW	100 MW

CPLE (PEC TRM VACAR Reserves)	0 MW	506 MW

TVA	200 MW	200 MW

Total	1550 MW	2056 MW

Duke Energy Carolinas Net Interchange	-207 MW	499 MW

Note:

Positive net interchange indicates an export and negative interchange an import.

2011 SUMMER PEAK

PROGRESS ENERGY CAROLINAS (EAST)

DETAILED INTERCHANGE

# Progress Energy Carolinas (East) Scheduled Imports/Purchases

Base Case             PEC TRM Case

AEP (NCEMC)	305 MW	305 MW

AEP (PEC TRM)	0 MW	97 MW

AEP (Rockport)	250 MW	250 MW

CPLW	 0 MW	150 MW

DUKE	50 MW	50 MW

DUKE (Broad River)	850 MW	850 MW

DUKE (NCEMC in Duke)	100 MW	100 MW

DUKE (PEC TRM VACAR Reserves)	0 MW	506 MW

DVP (3 Towns plus Sharpsburg)	20 MW	20 MW

DVP (PEC TRM)	0 MW	836 MW

DVP (SEPA-Kerr Dam Project)	95 MW	95 MW

SCEG (NCEMC)	150 MW	150 MW

SCEG (PEC TRM)	0 MW	200 MW

SCPSA (Co-Gen)	 9 MW	9 MW

SCPSA (PEC TRM)	0 MW	196 MW

SOCO (NCEMC)	25 MW	25 MW

Total	1854 MW	3839 MW

# Progress Energy Carolinas (East) Scheduled Exports/Sales

Base Case             PEC TRM Case

CPLW	 50 MW	0 MW

DUKE (City of Seneca)	31 MW	31 MW

DUKE (NCEMC)	200 MW	0 MW

DVP (Littleton)	9 MW	 9 MW

DVP (NCEMPA)	165 MW	165 MW

Total	455 MW	205 MW

Progress Energy Carolinas (East) Net Interchange	-1399 MW	-3634 MW

Note:

Positive net interchange indicates an export and negative interchange an import.

2011 SUMMER PEAK

PROGRESS ENERGY CAROLINAS (WEST)

DETAILED INTERCHANGE

# Progress Energy Carolinas (West) Scheduled Imports/Purchases

Base Case             PEC TRM Case

CPLE	50 MW	0 MW

TVA	14 MW	14 MW

Total	64 MW	0 MW

# Progress Energy Carolinas (West) Scheduled Exports/Sales

Base Case             PEC TRM Case

CPLE	0 MW	150 MW

Total	0 MW	150 MW

Progress Energy Carolinas (West) Net Interchange	-64 MW	136 MW

Note:

Positive net interchange indicates an export and negative interchange an import.

2010-11 WINTER PEAK

DUKE ENERGY CAROLINAS

DETAILED INTERCHANGE

# Duke Energy Carolinas Scheduled Imports/Purchases

Base Case             PEC TRM Case

CPLE (NCEMC)	100 MW	100 MW

CPLE (City of Seneca)	22 MW	22 MW

SCEG (City of Greenwood)	40 MW	40 MW

SCEG (NCEMC)	60 MW	60 MW

SCPSA (New Horizons/NHEC)	859 MW	859 MW

SEPA (Hartwell)	156 MW	156 MW

SEPA (Thurmond)	113 MW	113 MW

SOCO (PMPA)	61 MW	61 MW

Total	1411 MW	1411 MW

# Duke Energy Carolinas Scheduled Exports/Sales

Base Case             PEC TRM Case

CIN	350 MW	350 MW

CPLE (Broad River)	850 MW	850 MW

CPLE (NCEMC)	100 MW	100 MW

CPLW (PEC TRM VACAR Reserves)	0 MW	200 MW

TVA	200 MW	200 MW

Total	1500 MW	1700 MW

Duke Energy Carolinas Net Interchange	89 MW	289 MW

Note:

Positive net interchange indicates an export and negative interchange an import.

2010-11 WINTER PEAK

PROGRESS ENERGY CAROLINAS (EAST)

DETAILED INTERCHANGE

# Progress Energy Carolinas (East) Scheduled Imports/Purchases

Base Case             PEC TRM Case

AEP (NCEMC)	305 MW	305 MW

AEP (Rockport)	250 MW	0 MW

DUKE (Broad River)	850 MW	850 MW

DUKE (NCEMC in Duke)	100 MW	100 MW

DVP (3 Towns plus Sharpsburg)	20 MW	20 MW

DVP (SEPA-Kerr Dam Project)	95 MW	95 MW

FPC	50 MW	50 MW

SCEG (NCEMC)	150 MW	150 MW

SCPSA (Co-Gen)	 9 MW	9 MW

SOCO (NCEMC)	25 MW	25 MW

Total	1854 MW	1604 MW

# Progress Energy Carolinas (East) Scheduled Exports/Sales

Base Case             PEC TRM Case

CPLW	 120 MW	100 MW

DUKE (City of Seneca)	22 MW	22 MW

DUKE (NCEMC)	100 MW	100 MW

DVP (Littleton)	9 MW	 9 MW

DVP (NCEMPA)	142 MW	142 MW

Total	393 MW	373 MW

Progress Energy Carolinas (East) Net Interchange	-1461 MW	-1231 MW

Note:

Positive net interchange indicates an export and negative interchange an import.

2010-11 WINTER PEAK

PROGRESS ENERGY CAROLINAS (WEST)

DETAILED INTERCHANGE

# Progress Energy Carolinas (West) Scheduled Imports/Purchases

Base Case             PEC TRM Case

AEP (Rockport)	0 MW	250 MW

AEP (PEC TRM)	0 MW	42 MW

CPLE	120 MW	100 MW

DUKE (PEC TRM VACAR Reserves)	0 MW	200 MW

TVA	14 MW	14 MW

Total	134 MW	606 MW

# Progress Energy Carolinas (West) Scheduled Exports/Sales

Base Case             PEC TRM Case

None Scheduled	0 MW	0 MW

Total	0 MW	0 MW

Progress Energy Carolinas (West) Net Interchange	-134 MW	-606 MW

Note:

Positive net interchange indicates an export and negative interchange an import.